## 119_234
S&C Power Fuses - Type SMU-40 (14.4 and 25 kV) | [9 empty] | S&C Power Fuses - Type SMU-40 (14.4 and 25 kV) | [9 empty] | S&C Power Fuses - Type SMU-40 (14.4 and 25 kV) | [9 empty] | S&C Power Fuses - Type SMU-40 (14.4 and 25 kV)
Slow Speed (TCC 119-2-3-4) | [9 empty] | Slow Speed (TCC 119-2-3-4) | [9 empty] | Slow Speed (TCC 119-2-3-4) | [9 empty] | Slow Speed (TCC 119-2-3-4)
Total Clearing Time-Current Characteristic Curves Dated June 17, 1991 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated June 17, 1991 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated June 17, 1991 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated June 17, 1991
Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus.
15E |  | 20E |  | 25E |  | 30E |  | 40E |  | 50E |  | 65E |  | 80E |  | 100E |  | 125E |  | 150E |  | 175E |  | 200E |  | 250E |  | 300E |  | 400E |  | 2-250E |  | 2-300E |  | 2-400E
Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time
29999.2 | 0.015204 | 29999.2 | 0.015296 | 29999.2 | 0.015296 | 29999.2 | 0.015296 | 29999.2 | 0.015296 | 29999.2 | 0.015403 | 29999.2 | 0.015403 | 29999.2 | 0.015605 | 29999.2 | 0.015793 | 29999.2 | 0.019213 | 29999.2 | 0.019798 | 29999.2 | 0.019997 | 29999.2 | 0.020689 | 29999.2 | 0.0221 | 29999.2 | 0.025295 | 29999.2 | 0.028893 | 29999.2 | 0.035184 | 29999.2 | 0.042292 | 29999.2 | 0.056407
23859.2 | 0.016989 | 23223.6 | 0.017298 | 26793.8 | 0.016096 | 27036 | 0.016096 | 23293.4 | 0.017402 | 22672.9 | 0.0177 | 27225.9 | 0.016209 | 27665.1 | 0.016307 | 27417.2 | 0.016603 | 27144.4 | 0.020503 | 26106.1 | 0.021706 | 28167.5 | 0.020897 | 25334.6 | 0.02349 | 24292.6 | 0.026406 | 29141.7 | 0.026117 | 28650.5 | 0.030526 | 26132.2 | 0.042292 | 25359.9 | 0.053979 | 25589.2 | 0.072718
18341.6 | 0.019406 | 17870.8 | 0.019582 | 20618.1 | 0.018294 | 20804.5 | 0.018294 | 17924.5 | 0.019798 | 17429.6 | 0.020198 | 20929.7 | 0.018608 | 21288.6 | 0.018701 | 21097.8 | 0.019309 | 20867 | 0.024303 | 20088.9 | 0.026222 | 21675.2 | 0.025295 | 19495.2 | 0.029008 | 18674.7 | 0.033602 | 22402.4 | 0.034799 | 26474.2 | 0.033501 | 24099 | 0.047304 | 22380 | 0.065078 | 23340 | 0.084065
14114 | 0.022012 | 13751.8 | 0.0223 | 15865.9 | 0.020792 | 15993.3 | 0.020792 | 13779.3 | 0.022614 | 13412.3 | 0.023187 | 16105.6 | 0.021297 | 16381.8 | 0.021706 | 16218.8 | 0.022614 | 16057.4 | 0.029096 | 15458.7 | 0.032091 | 16679.3 | 0.030988 | 14986.8 | 0.036583 | 17238.9 | 0.036401 | 21675.2 | 0.036183 | 24244 | 0.037285 | 22290.7 | 0.052699 | 19032.9 | 0.083897 | 21416.7 | 0.097377
10860.9 | 0.024993 | 10571.6 | 0.025396 | 12196.7 | 0.023703 | 12307 | 0.023703 | 10603.3 | 0.025909 | 10320.9 | 0.026778 | 12393.5 | 0.024596 | 12593.3 | 0.025295 | 12480.5 | 0.026778 | 12356.3 | 0.035502 | 11883.7 | 0.040229 | 12822.1 | 0.039001 | 14675.3 | 0.037285 | 15708 | 0.040028 | 20088.9 | 0.03959 | 22024.8 | 0.042081 | 20494.8 | 0.059477 | 17050.3 | 0.10034 | 19651.8 | 0.11235
8349.26 | 0.028491 | 8134.98 | 0.028893 | 9385.56 | 0.026993 | 9460.95 | 0.027101 | 8159.42 | 0.029922 | 7934.12 | 0.031081 | 9527.41 | 0.028605 | 9690.76 | 0.029802 | 9603.93 | 0.032382 | 9498.87 | 0.044194 | 11671.7 | 0.040919 | 12593.3 | 0.039709 | 14227.4 | 0.038497 | 14456.9 | 0.043711 | 18068.5 | 0.044817 | 19809.7 | 0.048259 | 19205 | 0.065404 | 14142.3 | 0.13599 | 18213.6 | 0.12846
6424.85 | 0.032382 | 6253.7 | 0.033003 | 7215.08 | 0.030771 | 7280.31 | 0.030988 | 6272.49 | 0.034625 | 6105.4 | 0.036401 | 7331.45 | 0.033703 | 7457.15 | 0.035787 | 7382.95 | 0.040028 | 9162.99 | 0.045585 | 11292.8 | 0.042081 | 12160.2 | 0.041001 | 13793.1 | 0.039709 | 13068 | 0.048989 | 15427.8 | 0.054412 | 17693 | 0.055901 | 17464.5 | 0.07561 | 12356.3 | 0.17082 | 16762.9 | 0.14806
4939.05 | 0.036877 | 4812.29 | 0.037697 | 5552.08 | 0.035219 | 5602.28 | 0.035609 | 4826.75 | 0.040431 | 4698.17 | 0.043276 | 5641.63 | 0.040229 | 5732.62 | 0.044018 | 7265.76 | 0.040715 | 8733.56 | 0.047636 | 10937.2 | 0.043492 | 11706.8 | 0.042504 | 13332 | 0.041001 | 12051.3 | 0.053817 | 12681.8 | 0.070428 | 15897.6 | 0.064883 | 15582.8 | 0.0898 | 11281.5 | 0.19946 | 15243.7 | 0.17444
3800.65 | 0.042165 | 3703.11 | 0.043189 | 4272.39 | 0.040431 | 4306.7 | 0.041124 | 3714.24 | 0.047827 | 3611.68 | 0.052488 | 4336.96 | 0.048891 | 5524.39 | 0.045313 | 6980.86 | 0.042081 | 8241.42 | 0.050279 | 10508.3 | 0.045222 | 11270.3 | 0.044106 | 12732.6 | 0.042974 | 11147 | 0.059121 | 11191.7 | 0.083145 | 14356 | 0.075008 | 14270.1 | 0.10309 | 10372.6 | 0.23173 | 13655.9 | 0.21179
2924.64 | 0.048259 | 2846.74 | 0.049679 | 3284.36 | 0.046506 | 3314.06 | 0.047827 | 2855.29 | 0.057604 | 3533.09 | 0.053335 | 4263.85 | 0.04958 | 5286.59 | 0.047115 | 6640.4 | 0.044018 | 7769.24 | 0.053122 | 9837.21 | 0.048067 | 10850 | 0.045814 | 12184.5 | 0.044997 | 10248.9 | 0.065667 | 9517.88 | 0.10433 | 12796.5 | 0.088907 | 13412.3 | 0.11416 | 9479.89 | 0.27221 | 12605.9 | 0.24459
2248.3 | 0.055511 | 2190.59 | 0.057604 | 2527.35 | 0.054033 | 2550.2 | 0.056182 | 2779.23 | 0.058768 | 3421.82 | 0.05474 | 4113.08 | 0.05109 | 5038.83 | 0.048989 | 6335.53 | 0.045998 | 7294.88 | 0.05635 | 9338.75 | 0.050683 | 10414.2 | 0.047731 | 11671.7 | 0.047021 | 9603.93 | 0.071421 | 8526.45 | 0.12256 | 11671.7 | 0.10155 | 12493 | 0.12782 | 8399.5 | 0.33886 | 11590.3 | 0.28531
1730.09 | 0.064238 | 1685.69 | 0.067396 | 1944.83 | 0.063345 | 1960.45 | 0.06706 | 2654.28 | 0.0608 | 3261.45 | 0.056803 | 3955.76 | 0.052699 | 4788.29 | 0.051397 | 5848.43 | 0.04958 | 6856.33 | 0.060075 | 8821.33 | 0.053817 | 10056 | 0.049481 | 11147 | 0.049481 | 8733.56 | 0.081174 | 7072.21 | 0.16168 | 10709.9 | 0.11612 | 11452 | 0.14732 | 7577.42 | 0.40895 | 10860.9 | 0.32266
1331.32 | 0.074858 | 1295.86 | 0.079805 | 1495.07 | 0.075158 | 1921.63 | 0.068074 | 2514.75 | 0.063408 | 3074.59 | 0.059596 | 3740.33 | 0.055345 | 4500.43 | 0.054412 | 5496.84 | 0.05291 | 6399.2 | 0.064624 | 8307.62 | 0.057202 | 9642.42 | 0.051707 | 10582.1 | 0.052279 | 7792.59 | 0.094878 | 6179.1 | 0.19965 | 9827.38 | 0.1325 | 10656.5 | 0.16577 | 6680.37 | 0.5147 | 9886.52 | 0.38552
1023.44 | 0.088198 | 1233.89 | 0.082483 | 1456.7 | 0.076446 | 1844.43 | 0.070077 | 2377.79 | 0.06626 | 2912.97 | 0.062401 | 3543.71 | 0.057893 | 4242.59 | 0.057604 | 5171.55 | 0.056182 | 5972.54 | 0.06931 | 7942.06 | 0.060075 | 9199.72 | 0.054304 | 9995.88 | 0.055901 | 7136.15 | 0.10773 | 5641.63 | 0.23035 | 9108.18 | 0.14954 | 9690.76 | 0.19434 | 5984.5 | 0.63181 | 8999.53 | 0.46619
969.646 | 0.09134 | 1144.73 | 0.086972 | 1374.61 | 0.079566 | 1763.27 | 0.0725 | 2225.93 | 0.070077 | 2737.85 | 0.065864 | 3360.78 | 0.060678 | 3983.55 | 0.061227 | 4831.58 | 0.060376 | 5624.73 | 0.074113 | 7397.73 | 0.065078 | 8663.97 | 0.058067 | 9385.56 | 0.060075 | 6707.14 | 0.11834 | 5187.09 | 0.2647 | 8382.72 | 0.17065 | 9044.64 | 0.21846 | 5393.38 | 0.7818 | 7957.96 | 0.5974
886.19 | 0.097182 | 1060.96 | 0.091798 | 1294.56 | 0.083228 | 1668.91 | 0.075535 | 2071.29 | 0.074559 | 2568.12 | 0.069797 | 3174.57 | 0.063917 | 3710.52 | 0.065798 | 4554.76 | 0.064431 | 5281.3 | 0.079566 | 6761.01 | 0.072139 | 8241.42 | 0.061411 | 8847.83 | 0.06456 | 6247.45 | 0.13158 | 4740.64 | 0.30754 | 7623.02 | 0.19886 | 8382.72 | 0.24879 | 4821.92 | 0.98989 | 7001.84 | 0.796
820.514 | 0.10257 | 975.481 | 0.097865 | 1191.45 | 0.088463 | 1560.76 | 0.079566 | 1944.83 | 0.078775 | 2404.09 | 0.074261 | 3010.7 | 0.067262 | 3470.06 | 0.070639 | 4150.27 | 0.071635 | 4769.17 | 0.089442 | 6303.93 | 0.078382 | 7823.82 | 0.064948 | 8365.97 | 0.069102 | 5726.89 | 0.15029 | 4200.37 | 0.37789 | 6828.96 | 0.23831 | 7823.82 | 0.28107 | 4315.33 | 1.2672 | 6399.2 | 0.98495
765.808 | 0.10783 | 887.076 | 0.10517 | 1100.95 | 0.094028 | 1453.79 | 0.084318 | 1815.16 | 0.083981 | 2241.56 | 0.079407 | 2807.16 | 0.071923 | 3235.47 | 0.076294 | 3831.18 | 0.078696 | 4398.1 | 0.098651 | 5913.12 | 0.084825 | 7442.25 | 0.068964 | 7957.96 | 0.073596 | 5329.05 | 0.16811 | 3789.27 | 0.45106 | 6303.93 | 0.27276 | 7136.15 | 0.33016 | 3967.65 | 1.5587 | 5866 | 1.2127
701.297 | 0.11519 | 807.49 | 0.11348 | 974.506 | 0.10381 | 1350.09 | 0.089711 | 1689.06 | 0.0898 | 2100.49 | 0.08474 | 2638.4 | 0.076599 | 2971.82 | 0.083897 | 3582.9 | 0.085421 | 4027.61 | 0.11023 | 5602.28 | 0.090794 | 6959.95 | 0.074858 | 7517.04 | 0.079169 | 4846.09 | 0.1957 | 3340.68 | 0.56093 | 5796.03 | 0.31564 | 6528.47 | 0.38706 | 3611.68 | 1.9755 | 5387.99 | 1.5021
634.559 | 0.12454 | 744.662 | 0.12158 | 854 | 0.116 | 1267.66 | 0.094688 | 1557.64 | 0.097182 | 1937.06 | 0.092074 | 2411.32 | 0.084149 | 2743.33 | 0.092258 | 3314.06 | 0.09431 | 3714.24 | 0.12231 | 5286.59 | 0.097767 | 6528.47 | 0.081011 | 7171.92 | 0.084233 | 4522.99 | 0.21911 | 2992.69 | 0.68307 | 5431.27 | 0.35446 | 6068.87 | 0.44124 | 3334 | 2.4494 | 5023.73 | 1.8182
573.026 | 0.13545 | 686.037 | 0.13079 | 761.988 | 0.12897 | 1170.2 | 0.10166 | 1433.58 | 0.10559 | 1786.35 | 0.10054 | 2219.26 | 0.092074 | 2547.65 | 0.10095 | 3099.29 | 0.10309 | 3397.95 | 0.13791 | 4948.94 | 0.10655 | 6172.93 | 0.087059 | 6693.74 | 0.092166 | 4191.98 | 0.24829 | 2697.09 | 0.83597 | 4943.99 | 0.42014 | 5704.03 | 0.49551 | 3111.71 | 3.0007 | 4642.13 | 2.3068
509.755 | 0.14954 | 637.74 | 0.13971 | 692.931 | 0.14112 | 1085.64 | 0.10892 | 1316.76 | 0.11577 | 1662.25 | 0.10924 | 2075.44 | 0.099444 | 2326.05 | 0.11336 | 2878.22 | 0.11382 | 3102.39 | 0.15643 | 4698.17 | 0.11427 | 5726.89 | 0.095831 | 6335.53 | 0.099643 | 3912.49 | 0.27994 | 2411.32 | 1.05 | 4500.43 | 0.503 | 5318.4 | 0.56713 | 2921.72 | 3.7019 | 4306.7 | 2.9442
457.113 | 0.16527 | 586.358 | 0.15135 | 625.112 | 0.15674 | 983.316 | 0.11989 | 1209.46 | 0.12705 | 1559.2 | 0.11752 | 1898.71 | 0.11034 | 2121.6 | 0.12769 | 2565.55 | 0.1337 | 2861 | 0.17567 | 4442.3 | 0.1233 | 5371.85 | 0.10444 | 5966.57 | 0.10805 | 3568.6 | 0.32753 | 2157.98 | 1.3335 | 3979.57 | 0.63816 | 4889.91 | 0.67021 | 2740.59 | 4.7724 | 3963.68 | 4.0222
412.374 | 0.18265 | 535.891 | 0.1656 | 561.118 | 0.17602 | 892.415 | 0.1325 | 1129.95 | 0.1375 | 1456.7 | 0.12731 | 1735.29 | 0.1233 | 1942.88 | 0.14455 | 2363.57 | 0.15074 | 2654.28 | 0.19609 | 4238.35 | 0.13184 | 5130.35 | 0.11112 | 5619.11 | 0.11764 | 3264.72 | 0.38321 | 1984.11 | 1.6288 | 3501.44 | 0.841 | 4513.95 | 0.78729 | 2588.74 | 6.0851 | 3703.11 | 5.7307
362.104 | 0.20843 | 496.673 | 0.17922 | 507.721 | 0.19688 | 793.879 | 0.14999 | 1038.91 | 0.15226 | 1359.57 | 0.13846 | 1598.67 | 0.13667 | 1773.89 | 0.16412 | 2162.3 | 0.17219 | 2472.36 | 0.2178 | 4039.71 | 0.14112 | 4793.08 | 0.12219 | 5297.17 | 0.12794 | 3034.88 | 0.43598 | 1806.1 | 2.05 | 3200.07 | 1.0334 | 4171.07 | 0.92945 | 2487.24 | 7.329 | 3536.63 | 7.8683
330.277 | 0.23012 | 456.656 | 0.1959 | 474.343 | 0.21349 | 731.378 | 0.16478 | 967.708 | 0.1661 | 1256.3 | 0.15272 | 1466.93 | 0.15318 | 1627.71 | 0.18541 | 1988.09 | 0.1957 | 2323.73 | 0.23951 | 3835.01 | 0.15165 | 4568.45 | 0.13092 | 5079.3 | 0.1364 | 2852.43 | 0.48862 | 1667.24 | 2.5316 | 2933.43 | 1.266 | 3896.87 | 1.0788 | 2361.21 | 9.7752 | 3408.16 | 10.1639
293.222 | 0.26391 | 416.935 | 0.21759 | 440.95 | 0.23313 | 673.798 | 0.18211 | 901.384 | 0.18211 | 1162.03 | 0.16997 | 1384.27 | 0.1661 | 1504.07 | 0.20905 | 1826.08 | 0.22332 | 2166.63 | 0.26763 | 3618.91 | 0.16527 | 4302.4 | 0.14268 | 4860.65 | 0.14571 | 2659.59 | 0.55869 | 1556.08 | 3.0859 | 2694.39 | 1.5571 | 3526.03 | 1.3564 | 2273.16 | 12.6144 | 3281.08 | 12.9986
253.898 | 0.31375 | 379.909 | 0.24337 | 400.187 | 0.26311 | 615.805 | 0.20267 | 838.765 | 0.20006 | 1080.23 | 0.18709 | 1297.15 | 0.18174 | 1391.21 | 0.23477 | 1716.3 | 0.24705 | 2038.42 | 0.29577 | 3425.24 | 0.17958 | 4137.84 | 0.1512 | 4660.73 | 0.15534 | 2445.31 | 0.66023 | 1461.07 | 3.788 | 2512.24 | 1.8773 | 3294.23 | 1.6045 | 2190.59 | 16.6406 | 3161.9 | 17.2333
221.613 | 0.37488 | 345.133 | 0.27303 | 363.919 | 0.29785 | 554.979 | 0.2315 | 772.731 | 0.22332 | 1008.2 | 0.20677 | 1219.17 | 0.19906 | 1279.12 | 0.26843 | 1568.58 | 0.28589 | 1893.02 | 0.33248 | 3225.77 | 0.19668 | 3951.81 | 0.16168 | 4285.22 | 0.17672 | 2257.31 | 0.77479 | 1370.49 | 4.8639 | 2321.41 | 2.3675 | 3127.31 | 1.8401 | 2136.51 | 21.8204 | 3044 | 23.5434
199.923 | 0.43035 | 316.06 | 0.306 | 334.264 | 0.33448 | 506.706 | 0.26154 | 721.932 | 0.24631 | 926.979 | 0.23313 | 1144.73 | 0.21802 | 1179.6 | 0.30539 | 1478.71 | 0.31564 | 1773.89 | 0.37115 | 3074.59 | 0.21179 | 3766.6 | 0.17409 | 4100.76 | 0.18935 | 2085.84 | 0.91561 | 1294.56 | 6.1833 | 2153.67 | 3.0127 | 2989.7 | 2.0747 | 2081.67 | 27.6837 | 2918.8 | 32.7154
178.561 | 0.50704 | 290.886 | 0.34158 | 305.494 | 0.37978 | 450.308 | 0.30754 | 668.43 | 0.27578 | 817.238 | 0.28079 | 1068.41 | 0.24168 | 1094.36 | 0.34467 | 1402.38 | 0.34605 | 1660.59 | 0.41472 | 2924.64 | 0.22874 | 3526.03 | 0.19298 | 3877.43 | 0.20615 | 1948.72 | 1.0627 | 1243.8 | 7.4324 | 1982.13 | 4.0953 | 2826.88 | 2.4372 | 2026.22 | 35.7606 | 2826.88 | 41.9235
163.029 | 0.57917 | 266.382 | 0.38706 | 280.881 | 0.43035 | 406.235 | 0.35731 | 623.24 | 0.3057 | 735.044 | 0.33149 | 984.3 | 0.2744 | 1021.4 | 0.38668 | 1303.65 | 0.39292 | 1551.42 | 0.46666 | 2754.33 | 0.25179 | 3310.74 | 0.21328 | 3669.93 | 0.22421 | 1763.27 | 1.3349 | 1180.78 | 9.8833 | 1851.83 | 5.7999 | 2635.76 | 3.0127 | 1986.1 | 46.0095 | 2735.11 | 54.6991
150.194 | 0.65628 | 247.381 | 0.42949 | 258.509 | 0.48619 | 379.529 | 0.39647 | 575.898 | 0.34398 | 668.43 | 0.38475 | 924.202 | 0.30296 | 952.348 | 0.43511 | 1217.95 | 0.44523 | 1465.46 | 0.51677 | 2586.16 | 0.27911 | 3136.71 | 0.2329 | 3435.54 | 0.24953 | 1647.36 | 1.5807 | 1136.75 | 12.7158 | 1768.57 | 7.9394 | 2512.24 | 3.5781 | 1940.94 | 60.2106 | 2670.25 | 68.7756
139.76 | 0.73627 | 226.996 | 0.48667 | 238.873 | 0.54927 | 340.335 | 0.46853 | 541.277 | 0.37902 | 605.425 | 0.45151 | 860.859 | 0.33988 | 888.852 | 0.4896 | 1129.95 | 0.5106 | 1382.89 | 0.57455 | 2430.68 | 0.30877 | 2936.37 | 0.25868 | 3219.33 | 0.27827 | 1563.88 | 1.8146 | 1095.46 | 16.7575 | 1704.33 | 10.2455 | 2394.5 | 4.271 | 1898.71 | 78.5589 | 2606.93 | 86.8211
121.259 | 0.92574 | 207.666 | 0.55646 | 224.288 | 0.60825 | 309.182 | 0.54653 | 502.669 | 0.42607 | 549.457 | 0.53304 | 803.463 | 0.38054 | 824.627 | 0.55535 | 1054.61 | 0.57917 | 1319.39 | 0.62428 | 2268.62 | 0.34675 | 2729.65 | 0.29166 | 3040.96 | 0.30692 | 1495.07 | 2.048 | 1068.41 | 21.9298 | 1640.78 | 13.0768 | 2291.42 | 5.0675 | 1861.11 | 101.885 | 2527.35 | 112.713
107.87 | 1.1273 | 189.224 | 0.642 | 210.594 | 0.67088 | 288.28 | 0.61253 | 465.881 | 0.48183 | 500.662 | 0.6249 | 749.893 | 0.42735 | 765.808 | 0.63498 | 969.646 | 0.6783 | 1255.05 | 0.68924 | 2173.14 | 0.37226 | 2593.93 | 0.31817 | 2883.98 | 0.33583 | 1413.65 | 2.4081 | 1040.99 | 27.7947 | 1581.18 | 17.3197 | 2208.19 | 5.9527 | 1826.08 | 126.83 | 2472.36 | 137.531
97.5079 | 1.3429 | 165.825 | 0.80239 | 196.946 | 0.74516 | 270.408 | 0.67898 | 430.063 | 0.55037 | 460.324 | 0.71809 | 702.701 | 0.47704 | 723.377 | 0.70176 | 915.922 | 0.76097 | 1191.45 | 0.75945 | 2014.1 | 0.42183 | 2425.83 | 0.35659 | 2718.75 | 0.37263 | 1318.07 | 2.9827 | 1013.26 | 35.868 | 1522.22 | 23.6377 | 2132.24 | 7.0206 | 1782.78 | 168.991 | 2416.14 | 172.751
89.2939 | 1.5807 | 148.403 | 0.96256 | 178.919 | 0.8762 | 254.915 | 0.7459 | 398.191 | 0.62553 | 420.705 | 0.83848 | 640.296 | 0.56149 | 675.823 | 0.79124 | 854.854 | 0.8727 | 1139.02 | 0.82848 | 1904.41 | 0.46433 | 2234.85 | 0.41018 | 2562.99 | 0.41347 | 1256.3 | 3.5461 | 993.199 | 46.1477 | 1459.61 | 32.8137 | 2069.22 | 8.1404 | 1742.24 | 218.295 | 2370.67 | 206.201
81.3641 | 1.8754 | 134.684 | 1.1398 | 166.489 | 0.99187 | 236.496 | 0.84522 | 368.312 | 0.71095 | 387.583 | 0.97029 | 582.268 | 0.66687 | 622.617 | 0.92205 | 803.463 | 0.99088 | 1092.18 | 0.90289 | 1804.3 | 0.51214 | 2090.02 | 0.46017 | 2425.83 | 0.45605 | 1197.42 | 4.2369 | 970.616 | 60.3311 | 1413.65 | 42.0075 | 1992.07 | 9.9527 | 1700.93 | 290.863 | 2316.77 | 254.131
75.1837 | 2.1899 | 122.233 | 1.3605 | 155.856 | 1.1183 | 222.278 | 0.94539 | 325.685 | 0.88412 | 362.104 | 1.0984 | 532.153 | 0.78965 | 583.434 | 1.0365 | 743.918 | 1.164 | 1034.76 | 1.0058 | 1707.74 | 0.5643 | 1974.22 | 0.5106 | 2296.01 | 0.50603 | 1145.88 | 5.0271 | 949.496 | 78.7162 | 1367.76 | 54.8086 | 1923.55 | 12.2784 | 1665.58 | 378.741 | 2261.83 | 315.719
70.2411 | 2.5189 | 110.822 | 1.6435 | 145.464 | 1.2723 | 206.217 | 1.0799 | 297.654 | 1.0386 | 337.961 | 1.2509 | 497.667 | 0.89659 | 551.108 | 1.1559 | 698.497 | 1.3216 | 989.234 | 1.105 | 1585.93 | 0.64458 | 1861.11 | 0.56713 | 2166.63 | 0.5643 | 1104.26 | 5.9112 | 930.694 | 101.987 | 1335.32 | 68.8444 | 1857.39 | 15.5933 | 1617.97 | 500.122 | 2205.98 | 398.558
66.283 | 2.8629 | 99.9763 | 2.0215 | 134.146 | 1.4856 | 194.402 | 1.2018 | 272.307 | 1.2249 | 314.483 | 1.436 | 468.217 | 1.0079 | 516.426 | 1.3058 | 649.973 | 1.5309 | 951.396 | 1.1982 | 1490.59 | 0.72313 | 1782.78 | 0.61314 | 2069.22 | 0.61498 | 1066.27 | 6.9716 | 913.178 | 126.957 | 1303.65 | 86.8211 | 1804.3 | 19.3917 | 1601.87 | 588.663 | 2149.37 | 501.625
62.423 | 3.2702 | 93.4974 | 2.3183 | 124.827 | 1.7089 | 183.081 | 1.3442 | 252.379 | 1.4146 | 292.929 | 1.6534 | 437.874 | 1.1559 | 491.239 | 1.4403 | 610.288 | 1.7451 | 904.092 | 1.3402 | 1423.58 | 0.78808 | 1692.44 | 0.67627 | 1960.45 | 0.6817 | 1034.76 | 8.0917 | 891.523 | 169.161 | 1263.86 | 112.939 | 1740.5 | 26.0455 | 1595.48 | 599.954 | 2115.25 | 580.479
59.1416 | 3.7093 | 87.3509 | 2.6854 | 114.77 | 2.0337 | 173.804 | 1.4901 | 235.316 | 1.6223 | 276.146 | 1.8623 | 414.856 | 1.289 | 468.685 | 1.5854 | 577.629 | 1.9637 | 863.446 | 1.4841 | 1346.05 | 0.88236 | 1601.87 | 0.74889 | 1851.83 | 0.76097 | 996.183 | 9.9031 | 871.252 | 218.295 | 1236.36 | 137.668 | 1702.63 | 32.1961 |  |  | 2104.7 | 599.954
55.6974 | 4.2667 | 82.1818 | 3.0766 | 108.519 | 2.2861 | 164.175 | 1.6634 | 222.723 | 1.8164 | 257.735 | 2.1508 | 395.018 | 1.4245 | 444.492 | 1.7733 | 551.66 | 2.1855 | 831.25 | 1.6158 | 1277.84 | 0.97906 | 1534.45 | 0.81533 | 1750.97 | 0.85628 | 961.92 | 12.2172 | 850.591 | 290.863 | 1208.25 | 172.923 | 1650.66 | 41.5064
52.1401 | 5.0573 | 77.2413 | 3.5496 | 103.124 | 2.5316 | 155.544 | 1.8568 | 209.334 | 2.0665 | 242.968 | 2.4567 | 372.759 | 1.6142 | 420.284 | 2.0094 | 527.385 | 2.4081 | 800.255 | 1.7715 | 1201.02 | 1.1061 | 1466.93 | 0.88944 | 1682.32 | 0.92852 | 928.835 | 15.5466 | 832.914 | 378.362 | 1185.51 | 206.201 | 1600.27 | 52.9765
49.1528 | 5.9527 | 73.7687 | 3.9783 | 98.3895 | 2.7839 | 147.958 | 2.0562 | 196.749 | 2.3463 | 229.736 | 2.7839 | 355.289 | 1.7911 | 399.387 | 2.2588 | 498.165 | 2.7507 | 757.43 | 2.0235 | 1147.02 | 1.2188 | 1389.82 | 0.98693 | 1600.27 | 1.0293 | 902.285 | 19.3336 | 809.107 | 500.623 | 1158.55 | 254.131 | 1560.76 | 67.4137
46.383 | 6.9507 | 69.6814 | 4.6082 | 93.3106 | 3.1419 | 139.76 | 2.3276 | 183.081 | 2.7645 | 219.627 | 3.1107 | 335.268 | 2.0377 | 381.813 | 2.5139 | 471.034 | 3.1357 | 718.331 | 2.316 | 1084.56 | 1.3728 | 1333.99 | 1.0766 | 1532.92 | 1.1284 | 870.381 | 25.9935 | 801.056 | 588.663 | 1131.08 | 316.034 | 1528.32 | 82.1748
44.1651 | 8.0433 | 66.0845 | 5.3007 | 89.2939 | 3.5038 | 132.414 | 2.6296 | 174.327 | 3.089 | 207.666 | 3.5781 | 322.445 | 2.2274 | 362.829 | 2.8373 | 446.273 | 3.5496 | 688.098 | 2.5905 | 1036.83 | 1.5111 | 1279.12 | 1.1733 | 1461.07 | 1.2571 | 851.442 | 32.1318 | 797.858 | 599.954 | 1103.15 | 398.956 | 1490.59 | 104.569
42.2217 | 9.16 | 62.548 | 6.1833 | 85.1091 | 3.9465 | 126.714 | 2.9149 | 164.339 | 3.5425 | 197.933 | 4.0303 | 310.111 | 2.4372 | 344.1 | 3.2506 | 425.784 | 4.0062 | 665.096 | 2.8572 | 991.214 | 1.6717 | 1227.74 | 1.2851 | 1392.6 | 1.3991 | 825.452 | 41.4234 |  |  | 1074.84 | 502.127 | 1461.07 | 131.216
40.6474 | 10.5049 | 59.557 | 7.2271 | 81.8537 | 4.3791 | 120.413 | 3.2931 | 155.078 | 4.0994 | 189.792 | 4.526 | 300.345 | 2.6454 | 328.63 | 3.6724 | 409.088 | 4.4497 | 642.22 | 3.1577 | 940.048 | 1.8924 | 1171.37 | 1.4188 | 1332.65 | 1.5509 | 800.255 | 52.9235 |  |  | 1057.78 | 581.06 | 1427.85 | 168.149
39.3279 | 12.0714 | 56.9364 | 8.4388 | 78.4086 | 4.9079 | 114.77 | 3.7093 | 148.998 | 4.5715 | 183.265 | 5.007 | 287.416 | 2.9295 | 313.228 | 4.1906 | 393.441 | 4.9622 | 619.511 | 3.5213 | 894.201 | 2.1251 | 1133.34 | 1.5217 | 1276.56 | 1.7243 | 780.497 | 67.3463 |  |  | 1052.5 | 599.954 | 1396.78 | 222.26
37.8236 | 14.6852 | 54.5945 | 9.8635 | 75.5605 | 5.5005 | 110.049 | 4.1406 | 144.161 | 4.997 | 178.204 | 5.4567 | 278.643 | 3.1735 | 299.146 | 4.8203 | 378.014 | 5.5614 | 595.22 | 4.0546 | 855.709 | 2.3699 | 1092.18 | 1.6584 | 1220.39 | 1.9229 | 764.277 | 82.0927 |  |  |  |  | 1370.49 | 288.834
36.6691 | 17.9725 | 52.6115 | 11.5172 | 73.3274 | 6.1156 | 105.207 | 4.6872 | 138.647 | 5.5336 | 171.56 | 6.1156 | 268.253 | 3.5038 | 287.992 | 5.3862 | 363.919 | 6.1833 | 578.785 | 4.481 | 822.979 | 2.6218 | 1051.45 | 1.8019 | 1177.24 | 2.1103 | 745.407 | 104.464 |  |  |  |  | 1346.05 | 368.283
35.6566 | 22.128 | 50.9036 | 13.5833 | 70.5932 | 7.077 | 101.183 | 5.2427 | 133.477 | 6.1278 | 165.99 | 6.8199 | 258.251 | 3.88 | 278.364 | 6.0427 | 351.754 | 6.8404 | 560.557 | 5.0573 | 793.085 | 2.8888 | 1019.36 | 1.9481 | 1126.56 | 2.3723 | 730.647 | 131.216 |  |  |  |  | 1327.33 | 463.058
35.0205 | 26.3073 | 49.6468 | 15.7974 | 68.1652 | 8.1486 | 97.4105 | 5.8582 | 128.243 | 6.9368 | 161.73 | 7.5371 | 249.868 | 4.2539 | 267.717 | 6.8815 | 337.961 | 7.7125 | 545.079 | 5.6511 | 763.514 | 3.2183 | 973.532 | 2.1768 | 1078.07 | 2.6747 | 714.034 | 168.149 |  |  |  |  | 1311.5 | 599.954
34.3271 | 32.9782 | 48.3726 | 18.8751 | 65.6892 | 9.5529 | 94.0601 | 6.5853 | 123.585 | 7.892 | 156.95 | 8.4896 | 240.791 | 4.7581 | 259.545 | 7.7822 | 328.63 | 8.5664 | 526.858 | 6.5394 | 735.044 | 3.5889 | 942.872 | 2.3581 | 1040.99 | 2.9383 | 698.497 | 222.26
33.816 | 39.68 | 47.5572 | 21.9298 | 63.5568 | 11.1433 | 91.0068 | 7.3658 | 119.813 | 8.8715 | 151.856 | 9.6008 | 233.208 | 5.2427 | 251.371 | 9.0236 | 319.875 | 9.5338 | 510.776 | 7.5146 | 706.223 | 4.0465 | 909.533 | 2.5879 | 1002.17 | 3.2997 | 685.351 | 288.545
33.4461 | 48.7569 | 46.99 | 25.5553 | 62.0496 | 12.6903 | 88.3171 | 8.2635 | 115.808 | 10.3692 | 147.81 | 10.9665 | 226.316 | 5.771 | 244.186 | 10.2969 | 313.541 | 10.4108 | 498.165 | 8.5407 | 682.615 | 4.5034 | 879.128 | 2.8572 | 970.616 | 3.6504 | 673.125 | 368.283
33.2128 | 60.4519 | 46.3367 | 29.9595 | 60.5781 | 14.6999 | 85.8785 | 9.3544 | 112.273 | 12.0232 | 143.873 | 12.5641 | 219.847 | 6.3461 | 239.351 | 11.5634 | 304.884 | 11.8917 | 485.865 | 9.7654 | 659.796 | 5.0523 | 853.146 | 3.1045 | 940.048 | 4.0546 | 663.767 | 462.595
33.0802 | 79.3485 | 45.8298 | 35.0174 | 59.438 | 17.0448 | 83.9259 | 10.5681 | 109.173 | 13.8439 | 140.602 | 14.3657 | 212.285 | 7.2199 | 233.675 | 13.0507 | 298.847 | 13.2479 | 474.343 | 11.1099 | 635.194 | 5.7999 | 827.932 | 3.3833 | 907.715 | 4.5715 | 655.849 | 572.981
33.0141 | 108.619 | 45.3284 | 41.1756 | 58.5531 | 19.6454 | 81.6085 | 12.2784 | 106.477 | 16.1811 | 136.993 | 16.8752 | 204.779 | 8.2058 | 229.736 | 14.5974 | 292.052 | 14.8774 | 464.486 | 12.5264 | 620.752 | 6.3716 | 803.463 | 3.6834 | 882.652 | 5.0675 | 651.274 | 599.954
33.0141 | 153.523 | 44.9223 | 48.8057 | 57.6814 | 23.4963 | 79.6732 | 14.2085 | 104.578 | 18.4829 | 134.012 | 19.567 | 198.528 | 9.3357 | 225.638 | 16.3111 | 285.411 | 16.9428 | 452.565 | 14.8328 | 603.008 | 7.2344 | 782.06 | 3.9942 | 854 | 5.7365 | 649.323 | 599.954
33.0141 | 221.595 | 44.5643 | 58.9593 | 56.9364 | 27.9061 | 77.9396 | 16.2459 | 102.507 | 21.6033 | 130.312 | 23.6851 | 192.276 | 10.7278 | 221.834 | 18.2807 | 279.76 | 19.1412 | 442.275 | 17.4065 | 588.12 | 8.1404 | 763.514 | 4.3486 | 824.627 | 6.6582
33.0141 | 317.936 | 44.3864 | 72.7369 | 56.3135 | 33.6444 | 76.856 | 18.3173 | 100.477 | 25.301 | 127.987 | 28.018 | 187.154 | 12.2294 | 216.574 | 21.4526 | 273.399 | 22.1059 | 433.951 | 19.9822 | 573.026 | 9.2428 | 743.175 | 4.7867 | 803.463 | 7.4921
32.9811 | 468.18 | 44.1651 | 91.9136 | 55.7532 | 40.3603 | 75.4095 | 21.5386 | 98.5864 | 29.3662 | 125.578 | 33.1766 | 182.168 | 14.4666 | 213.136 | 24.8994 | 266.648 | 26.1499 | 425.358 | 23.5199 | 561.679 | 10.4108 | 720.49 | 5.3594 | 779.717 | 8.5749
32.9481 | 546.128 | 44.1651 | 121.857 | 55.3642 | 49.5929 | 74.1384 | 25.0493 | 97.4105 | 33.813 | 123.709 | 38.9332 | 178.383 | 16.7407 | 209.334 | 29.5725 | 262.154 | 29.8101 | 417.77 | 27.4632 | 547.811 | 11.8679 | 703.404 | 5.8994 | 757.43 | 10.0627
32.9152 | 599.954 | 44.1651 | 157.409 | 55.1984 | 62.7305 | 73.1809 | 29.2783 | 95.8643 | 40.0788 | 122.111 | 45.8258 | 174.501 | 19.3917 | 204.984 | 36.301 | 257.735 | 34.808 | 409.907 | 32.0035 | 534.82 | 13.7336 | 686.037 | 6.5394 | 738.729 | 11.5287
|  | 44.1651 | 198.512 | 55.1984 | 82.1748 | 72.0913 | 34.5997 | 94.6261 | 46.9859 | 120.413 | 55.6926 | 170.193 | 23.4025 | 201.126 | 44.1612 | 253.644 | 39.4032 | 402.595 | 38.3152 | 523.183 | 15.7658 | 671.109 | 7.2489 | 716.18 | 13.7748
|  | 44.1651 | 274.472 | 55.1984 | 111.369 | 71.1602 | 41.5895 | 93.404 | 56.2524 | 119.096 | 65.8809 | 167.491 | 27.8504 | 197.736 | 54.1549 | 249.868 | 45.5061 | 395.018 | 46.2864 | 513.336 | 17.865 | 655.194 | 8.1486 | 700.596 | 15.9402
|  | 44.1651 | 357.399 | 55.1984 | 144.149 | 70.3817 | 50.5442 | 92.6597 | 66.1449 | 117.558 | 82.0107 | 164.668 | 33.3763 | 195.182 | 63.5514 | 246.148 | 54.5353 | 388.748 | 54.4263 | 505.188 | 19.9423 | 637.103 | 9.3731 | 687.41 | 18.2259
|  | 44.0768 | 437.402 | 55.1984 | 188.265 | 69.5422 | 61.5499 | 91.8295 | 77.4668 | 116.155 | 103.321 | 162.379 | 40.1189 | 192.853 | 74.3548 | 242.968 | 63.6786 | 383.343 | 63.4244 | 495.185 | 23.2858 | 620.752 | 10.7708 | 667.094 | 22.2612
|  | 44.0328 | 542.318 | 55.1984 | 253.877 | 68.9881 | 74.1321 | 91.0978 | 92.1898 | 115.115 | 126.957 | 160.442 | 47.2214 | 190.744 | 87.2563 | 239.59 | 76.4662 | 379.15 | 73.1015 | 487.813 | 26.4656 | 607.852 | 12.2784 | 650.623 | 26.4391
|  | 43.9888 | 599.954 | 55.1984 | 345.797 | 68.3016 | 91.0901 | 90.5529 | 108.945 | 113.514 | 168.317 | 158.528 | 56.4778 | 188.28 | 102.703 | 236.26 | 91.73 | 373.505 | 85.9572 | 479.11 | 30.7179 | 595.816 | 13.9411 | 634.559 | 31.3698
|  |  |  | 55.1984 | 467.244 | 67.8252 | 113.846 | 90.1012 | 131.611 | 112.723 | 205.377 | 156.48 | 67.8873 | 186.78 | 118.137 | 232.742 | 113.846 | 368.681 | 98.9733 | 473.869 | 34.4272 | 582.851 | 16.2135 | 620.752 | 37.4066
|  |  |  | 55.1984 | 567.28 | 67.4195 | 140.871 | 89.7415 | 153.063 | 112.16 | 255.15 | 154.768 | 80.5477 | 185.106 | 137.119 | 229.736 | 136.026 | 364.283 | 113.96 | 466.348 | 40.9293 | 574.173 | 18.1531 | 612.734 | 43.2868
|  |  |  | 55.1432 | 599.954 | 67.0162 | 180.341 | 88.8486 | 188.265 | 111.601 | 314.458 | 152.312 | 103.115 | 183.631 | 161.394 | 227.223 | 161.879 | 360.298 | 133.733 | 459.864 | 46.892 | 563.931 | 20.8394 | 600.001 | 53.242
[6 empty] | 66.7486 | 228.8 | 88.5824 | 239.332 | 111.155 | 384.849 | 150.345 | 130.823 | 181.804 | 191.876 | 224.512 | 196.733 | 356 | 157.409 | 453.471 | 55.5814 | 556.091 | 23.5669 | 591.068 | 66.8766
[6 empty] | 66.4822 | 295.554 | 88.1406 | 310.086 | 110.49 | 487.774 | 148.254 | 168.991 | 180.356 | 226.977 | 222.278 | 237.425 | 352.811 | 181.064 | 447.167 | 66.0788 | 546.717 | 27.7114 | 582.851 | 79.5073
[6 empty] | 66.283 | 365.714 | 88.0525 | 416.486 | 110.27 | 570.694 | 146.779 | 205.789 | 178.919 | 269.307 | 220.507 | 280.858 | 349.649 | 209.946 | 441.833 | 77.1575 | 538.039 | 32.3252 | 574.173 | 98.2829
[6 empty] | 66.2168 | 452.077 | 88.0525 | 527.872 | 110.049 | 599.954 | 145.464 | 269.307 | 178.026 | 311.641 | 218.75 | 330.581 | 346.17 | 245.39 | 435.255 | 94.5236 | 529.499 | 38.9721 | 568.46 | 116.962
[6 empty] | 66.0845 | 540.694 | 88.0525 | 574.128 |  |  | 144.45 | 324.359 | 176.961 | 372.357 | 217.007 | 414.823 | 343.412 | 286.532 | 430.924 | 109.491 | 522.138 | 46.0095 | 562.804 | 140.59
[6 empty] | 66.0845 | 599.954 | 88.0525 | 599.954 |  |  | 143.585 | 406.203 | 175.903 | 451.625 | 215.925 | 497.131 | 341.358 | 325.985 | 425.784 | 129.134 | 515.909 | 54.4808 | 556.091 | 179.621
[12 empty] | 143.012 | 502.127 | 175.2 | 532.111 | 215.709 | 567.28 | 338.638 | 383.696 | 421.969 | 149.284 | 507.721 | 67.7516 | 551.66 | 218.077
[12 empty] | 142.584 | 572.981 | 174.501 | 574.128 | 215.278 | 599.954 | 336.276 | 445.792 | 417.352 | 173.27 | 501.664 | 79.5869 | 547.811 | 272.558
[12 empty] | 142.584 | 599.954 | 173.978 | 599.954 |  |  | 334.264 | 517.419 | 413.2 | 209.317 | 495.185 | 95.6647 | 542.903 | 340.649
[18 empty] | 332.264 | 571.265 | 408.679 | 256.172 | 490.748 | 111.927 | 540.195 | 435.22
[18 empty] | 331.269 | 599.954 | 405.018 | 301.223 | 483.926 | 144.293 | 538.039 | 523.665
[20 empty] | 401.791 | 362.8 | 479.11 | 177.656 | 536.427 | 580.479
[20 empty] | 399.387 | 422.78 | 474.818 | 219.17 | 535.356 | 599.954
[20 empty] | 397.793 | 486.313 | 469.154 | 289.123
[20 empty] | 396.601 | 568.984 | 466.814 | 370.499
[20 empty] | 395.809 | 599.954 | 464.486 | 465.845
[22 empty] | 463.095 | 577.006
[22 empty] | 462.632 | 599.954